## Slide 1
April 25th, 2025
CPS489Y5
Yimin Xu
Design & Development of a Portable Cost-effective
DIY Ultrasound Imaging System

## Slide 2
Initial Steps
Design & POC
Scientific Background
Motivation
4k monitor
ultrasound
probe
Lens
Acoustic Stacks
Flex Circuit
Interconnector
Miniature Coax
tissue mimetic
Research, Design & Development of Imaging System
Design & Development of Ultrasound Probe
Proof of Concept with Custom Built Raspberry Pi, Arduino & NVIDIA Imaging Platform

## Slide 3
DIY Ultrasound Probe Concept Design
Pic0rick Ultrasound Module (Open-source Project)
Ultrasound Probe Controller
  Pulser Board ultrasound pulse generation
  Raspberry Pico microcontroller
  Probes with Co-axial options
  Compatible with simple ultrasound transducers
  Live process imaging board via Raspberry Pi 5
Initial Steps
Design & POC
Scientific Background
Motivation
GitHub - kelu124/pic0rick: An rp2040-based acquisition board for pulse-echo ultrasound

## Slide 4
PCB Schematic Design of Ultrasonic system:
pic0Rick Ultrasound probe
Controller
Raspberry Pi 5
Ultrasound
Transducer
PMOD
4k monitor
RasPico
Initial Steps
Design & POC
Scientific Background
Motivation

## Slide 5
POC Device after Designing, Printing, Constructing & Soldering
Initial Steps
Design & POC
Scientific Background
Motivation
Simple Ultrasound
Transducer
2-5 MHz
PMOD pulser
RasPico
pic0rick
GitHub - kelu124/pic0rick: An rp2040-based acquisition board for pulse-echo ultrasound

## Slide 6
Custom Live Ultrasound Transducer Acquisition Software
Initial Steps
Design & POC
Scientific Background
Motivation
GitHub - kelu124/pic0rick: An rp2040-based acquisition board for pulse-echo ultrasound

## Slide 7
Pic0rick Ultrasound System
  Testing & validate the build electronic boards
  Compare different ultrasound parameters in water vs. varying density of gelatin
Initial Steps
Design & POC
Scientific Background
Motivation
1.0 g/L
0.75 g/L
water

## Slide 8
Ultrasound Transducer Signal in Water
A
B
C
Initial Steps
Design & POC
Scientific Background
Motivation
2-5 MHz
pulse echo
water

## Slide 9
Ultrasound Transducer Signal in Gelatin with 5 cm depth and varying density
D
E
F
Initial Steps
Design & POC
Scientific Background
Motivation
2-5 MHz
pulse echo
pulse echo
0.75 g/L
1.0 g/L

## Slide 10
Thank you!
Questions?
Initial Steps
Design & POC
Scientific Background
Motivation