# Hardware Metapaper Peer-Review Form
Paper Content
General comments and summary of recommendation
What are the main claims of the paper and how significant are they? Describe your overall impressions of the submission, how it fits within the scope of the journal, and your publishing recommendation (Yes, No, Yes with minor or major revisions, please cite all the necessary changes).
The submission fits well with in the scope of the journal and is an excellent example of how open source instruments can make a scientific field more accessible to none-experts and those with less resources to spend.

1. Quality and clarity of the writing

Rate: Excellent / Good / Fair / Poor / N/A

2. How understandable is the manuscript for non-specialists?

Rate: Excellent / Good / Fair / Poor / N/A

3. Organisation

Rate: Excellent / Good / Fair / Poor / N/A

4. Is the title of the paper descriptive and objective? How could it be improved?
Yes, although the term “low-cost” is more of a subjective judgement than a scientific conclusion. It does attract attention and in this context I believe it I a fair term to use.

5. Is the manuscript an appropriate length?

Could be more detailed / Good / Should be shortened / N/A

6. Does the Abstract give a good indication of the hardware's functionality, and where it would be used?

Rate: Excellent / Good / Fair / Poor / N/A

7. Does the Introduction give enough background information to understand the context of the hardware's development and use?

Rate: Excellent / Good / Fair / Poor / N/A

8. Is the discussion of the Relevant Literature appropriate? If not, what is missing? Please specify papers that weaken the claims to the originality of this one.
Due to the lack of my expertise in the specific field, I am not able to draw any conclusions based on the literature. References to other similar projects in the field are appropriate.

9. Does the Overall Implementation and Design section give enough information to get an idea of how the hardware is designed, and any constraints that may be placed on its use?
A diagram of the electronic circuit would be very helpful. Figure 4 (with the components on the table) is a bit confusing at first, but after digesting the full text it becomes clear.

10. Does the Quality Control section adequately explain how the hardware generated results can be trusted?
The comparison to regular proprietary devices make a convincing impression.

11. Does the Reuse section provide concrete and useful suggestions for reuse of the hardware, for instance: other potential applications, ways of extending or modifying the hardware, integration with other hardware?
Yes, a list of “other uses” are provided.

12. Overall, are figures and diagrams used to enhance the description? Are they clear and meaningful?
The pictures are meaningful, but most are not referred to in the text

13. Are mathematics and statistics correct?
N/A

14. Does the presented Data support the claims of the metapaper? If not, what other evidence is required? Would any other experiments/data/analyses improve the paper?
N/A

15. Ethical approval:
If human or animals have been used as research subjects, are the necessary statements of ethical approval by a relevant authority present? Where humans have participated in research, informed consent should also be declared.
If not, please detail where you think a further ethics approval/statement is required.
N/A

The deposited hardware documentation and design files
1. Does the hardware comply with the open source hardware definition at http://www.oshwa.org/definition/
The Git repo contains a TAPR Open Hardware license file which fits with the definition.

2. Is the hardware in a suitable repository? (see journal information on suitable repositories.) Is the repository link in the form of a persistent identifier, e.g. a DOI? Can you download the design files from this link?
The files are published in a Github repository and are available via a persistent link and have been published as a “Release”, the download link works at the time of the review

3. Please complete the Hardware documentation checklist: Is the following included?
CHECK The source (e.g. schematics, modifiable CAD files, board designs, etc)
CHECK Any useful intermediate files (e.g. STL files, print-ready PCB files)
CHECK An indication of the intended audience, and resources required to build it (or in the metapaper)
CHECK Description of the project’s functionality
SUFFICIENT Explanation, where appropriate, to help the reader understand why design decisions were taken (or in the metapaper)
NO Complete assembly instructions, ideally with photographs, diagrams, etc.
SUFFICIENT Calibration and testing instructions (or in the metapaper)
CHECK List of parts, ideally with supplier details
CHECK Sufficient information to recreate any custom parts required

4. Are the source files in an easily attainable format per industry standards?
Altium and KiCad formats as well as Gerber files

5. Do you believe that another researcher could build the hardware and use it, or take the design files and build on it?
Yes, the assembly is not fully explained step by step, but is obvious to the expert.

 Deposited software where applicable:
1. If the Code Repository section is filled out, does the identifier link to the appropriate place to download the source code? Can you download the source code from this link?
The Code is placed in the same repository as the Hardware.

2. Is the software license included in the software in the repository? Is it included in the source code?
No, the TAPR Open Hardware License is used throughout the repository. In the license file it states: / “The OHL addresses unique issues involved in the creation of tangible, physical things, but does not cover software, firmware, or code loaded into programmable devices. A copyright-oriented license such as the GPL better suits these creations.”

3. Is the code adequately documented? Can a reader understand how to build/deploy/install/run the software, and identify whether the software is operating as expected?
The Arduino code is fairly straight forward. The variable names could be a bit more descriptive and there is not a lot of commenting in the code

4. Does the software run on the systems specified? (if you do not have access to a system with the prerequisite requirements, let us know).
Not tested